Blacknest Data System (BDS)
BdsMetadata Program – 3.0.10 - 2022-06-07
# Introduction
The BdsMetadata program provides a command line control client for the BDS system. It allows the database MetaData of the BDS system to be added to or changed.
The BdsMetadata program implements a simple script language that allows for relatively easy manipulation of the BDS MetaData.
# Usage
The BdsMetadata program can be run only by admin users.It accepts the following command line options:
-help	Help on command line parameters
-host <hostname>	BDS Server host name
-user <user:password>	The BDS user id and password
-name <server name>	The BDS server name
-c <command>	Run the given script command
-f <command file>	Run the commands from the given script file
-d variable=value	Set the given variable to the value given
-maxChanges <n>	Maximum number of data changes per statement. (Can also be set using the $maxChanges variable).
-verbose	Verbose messages

The BdsMetadata program will read the BDS_HOST environment variable at start-up. This variable, if set, defines the default BdsServer host name to contact. The default is “localhost” if this is not set.
The program will carry out the operations as defined in the single “command” argument or from the command file if given.
The “-name <server name>” flag has to be given with the name of the BDS server being used. This adds an additional safety check.
# Operation
The BdsMetadata program will run a sequence of statements written in its special purpose script language. The entire set of statements are run as a single BDS transaction and so if any statement fails, then none of the changes are made. Where possible, the line number of the statement which caused the error is given.
The maxChanges parameter defines the maximum number of database changes a single statement can perform. By default this is set to 1. This is to protect from selection patterns matching more items than expected.
The BdsMetadata program operates through the BDS AdminAccess API and so all of the user and other restrictions and protections of this interface are in operation. The program operates at the BDS API level and thus has all of the features of this API.
Every BdsMetadata command file should set the “$apiVersion” parameter to the BDS API version it is designed for. The various BDS class parameter lists can change from one BDS API version to another.
# Metadata Scripting Language
The Metadata scripting is a simple language defined for the task. This section provides a brief description of this language.
- Comments can be included using a '#' or “//” as the start of a line. Also 'C' style “/* */” comments are supported.
- Statements consist of a command followed by arguments to the command and terminated with the ';' character.
- Statements can be on one or multiple lines. There can also be multiple statements per line.
- String variables are supported using the '$' character in front of the variables name.
- Sets of parameters are supported as a CSV list or name/value list within curly brackets.
## Values
Values can be:
- Simple identifiers consisting of alpha-numeric characters starting with [A-Za-z].
- Strings consisting of characters within double quotes.
- Variables like $startTime.
## Parameter Lists
Parameter lists can be in CSV format or in name/value format. The name/value format is as follows:
{station=SA, type=array}
Normally this is used to set an objects members, but it can also be used for pattern matching. The field names are those as listed in the BDS API for the object in question. Unnamed members are set to default values or left unchanged
The CSV list is simply a comma separated list:
{,,SA,array}
Parameters are set based on the order within the object. This order and extra fields can be present in different BDS API versions. If there is no value given, the members value is set to a default value or left unchanged.
## Pattern Match Lists
Pattern matching using the standard BDS pattern matching scheme using a Selection object. The pattern can be defined using a CSV list or a name/value list. The parameters are as follows:
{startTime,endTime,network,station,channel,source}
Each item can be a simple string or a regular expression such as: “EKB.*”
When patterns are used for selection Digitisers or Sensors, the program will search for the channels that match the pattern and then the Digitisers and Sensors within the selection time.
## Variables and Default values
The language supports string variables using the “$” character. variables can be set using the “set” command and as the results of some commands. There is also a default set or parameters defined. When an object is added then the system will use the values of variables of the same member name as the defaults for parameters values not given.
By default the following variables are defined. These can be cleared using the “clear” command:
Name	Value
apiVersion	0
startTime	0001-01-01T00:00:00
endTime	9999-01-01T00:00:00
network	BN
source	Main
dataType	seismic
datum	WGS84
maxChanges	1

Thus by default when a Channel is created it will have the startTime and endTime as set above unless overridden.
The apiVersion parameter needs to be set to the BDS API version the command file is designed for and is checked against the API version in use.
All current variable settings can be listed with the “print;” command.
## Commands
The following commands are currently available:
clear;
Clears all variables.
set $<variable> = <value>;
Sets the named variable to the given value;
print $<variable>;
Prints the value of the given variable;
print;
Prints all of the variables;
backup $<variable>;
Backup the current Database and BdsServer configuration into the current BDS data store within the Backup directory. Each entry has a reference based on the time time backup was made to the nearest second. The backup reference is returned in the variable given as an argument.
restore "<value>";
Restores the database to the one saved with the given reference.
info <Type>;
List the members of the given type.
list <Type> {<pattern>};
List all items of the given type that match the selection pattern.
find <Type> $<variable> {<pattern>};
Searches for a selection match and returns the id of the selected item. Returns an error if no matches or more than one match.
delete <Type> {<pattern>};
Deletes the objects of the given type that match the pattern given. If a Channel is deleted then so will all of its Calibrations, Responses and Instruments.
add <Type> $<variable> {parameters};
Add an object of the given type setting its members as given in the parameter list. The objects id is returned in the variable. The objects members are set to the values in the parameter list or the value of variables that have the same name as the members if not set.
Adding a Channel will also add the needed Station if it does not exist.
When adding an “array” the following syntax should be used:
add Station $<variable> {parameters} {network:station:channel list};
This special syntax is used to add an array. The Station's “type” field should be set to “array”. The network:station:channel pair list should be a simple comma separated list such as: {N1:S1:C1, N2⇓C2, N3:S3:C3}.
add PoleZero $<variable> {poles} {zeros};
This creates a Response with the given set of Poles and Zeros. The poles and zeros is a simple comma separated list of values of sets of 2 (real, imaginary) values. The Response index is returned in the variable. It sets the stage to 1 and the type to “PoleZero”, other than than any other Response fields need to be set during the “add Response” command;
add FAP $<variable> {fapValues};
This creates a Response with the given set of frequency, amplitude and phase values. The fapValues is a simple comma separated list of values of sets of 3 (f, a, p) values. The Response index is returned in the variable. It sets the stage to 1 and the type to “FAP”, other than than any other Response fields need to be set during the “add Response” command;
add FIR $<variable> {firBValues} {firAValues};
This creates a Response with the given set of FIR values. Bot B and optionaly A values can be provided. Each set of FIR values consist of coefficient, error pairs all in a single comma separated list. The Response index is returned in the variable. It sets the stage to 1 and the type to “FIR”, other than than any other Response fields need to be set during the “add Response” command;
read <Responses> $<variable> { <format>, <filename>};
Read a response of the given format from the given file. The response is stored and its responseId returned in the variable given and this can be used on a subsequent “add Responses ...” command. The read command supports all BDS Metadata formats including STATIONXML, SEED, IMS, SAC and IDC file formats. A complete set of multi-stage responses are read if available. The multiple response read can be stored using the “add Responses” command.
add Response $<variable> {parameters, responseId};
This adds a single response from the first response indexed by the responseId variable given. All of the response parameters are filled in first from the given responseId and then overridden with the values in the parameter list. For basic response formats quire a few of the parameters may need to be given especially the startTime and endTime fields.
add Responses $<variable> {parameters, responseId};
This special syntax creates a set of responses based on the multiple responseId variable given. The Response parameters from the responseId index to list of responses can be overridden with the parameters as needed.
change <Type> $<variable> {pattern} {parameters};
Changes all the objects of the given type that match the given pattern using the parameters given. Returns the id of the last object affected.
split <Type> $<variable> {pattern} <time> {parameters};
Splits the object of the type given that matches the pattern into two separate ones split at the time given. The second object has its members changed to those given in the parameters list or as given by default variables.
clone <Type> $<variable> {pattern} {parameters} [{arguments}];
Clones the object of the type given that matches the pattern to create a copy which has its members changed to those given in the parameters list or as given by default variables.
In the case of a Channel type, the optional arguments list is used. Normally cloning a Channel will just clone the Channel. The arguments field is a comma separated list of names that allows the command to also clone the calibrations, responses and instruments. The argument fields supported are:
- calibration	Clone the calibrations
- response	Clone the Responses
- instrument	Clone the instruments
- digitiser	Normally cloning instruments will share the Digitiser of the cloned channel. Setting this parameter will create a clone of the Digitiser for this new Channel.
- sensor	Normally cloning instruments will share the Sensor of the cloned channel. Setting this parameter will create a clone of the Sensor for this new Channel.
When cloning a Channel with its calibrations,responses,instruments etc the program will perform the following:
- Will select the calibrations,responses,instruments based on the pattern. This may select more than one.
- If one item is selected, then its start/end times will be set to that of the new channel as defined in the parameters.
- If more than one item is selected (multiple Calibrations etc) then all of these that are within the time range of the “new” Channel are cloned keeping the intermediate times unchanged. If the items startTime is before than the new Channels start time it will be changed to match the new Channels startTime. Similarly the items endTime will be set to the new Channels endTime if it is after the Channels endTime.
## Example Script
###############################################################################
#	BDS MetaData command line manipulation script
#	Adding channels
###############################################################################
#

# Admin, backs up database
backup $backup;

# Sets default variables
set $apiVersion	= 27;
set $startTime	= 0001-01-01;
set $endTime	= 9999-01-01;
set $network	= BN;
set $station	= "";
set $channel	= "";
set $source	= Main;
set $dataType	= seismic;

# Info on a Type
info Calibration;

# Delete all existing channels and stations that start with “H”
delete Station {station="H.*"};
delete Channel {station="H.*"};

# Add some Pole/Zero responses
add PoleZero $pz0 {0,1,2,3} {10,11,12,13};
add PoleZero $pz1 {0,1,2,4} {10,11,12,13};

# Add a channel with calibration,responses and instrument
set $station	= "H08C1";
set $channel	= "LEA_US";
add Channel $c {};
add Calibration $cal {,,,,,,Cal1,100,1,1,m,0,0,0};
add Response $r {responseId=$pz0};
split Response $r {station=H08C1,channel=LEA_US} 2000-00-00 {responses=$pz1};
add Digitiser $d {,,"20 DMOD","Type0",1,0,40,0,0};
# add Sensor $s {,,"EKA DSP Willmore","Mk11",,,,,};
clone Sensor $s {startTime=2008-02-02T00:00:00, endTime=2008-02-04T00:00:00, station="TSB01", channel="BHZ_01", source="Main"}{serialNumber=112291};
add ChannelInstrument $i {,,$c,Main,$d,$s};

# Clone this channel to a set of channels
clone Channel $c {station=H08C1,channel=LEA_US} {station=H08C1,channel=LEV_US} {calibration,response,instrument};
clone Channel $c {station=H08C1,channel=LEA_US} {station=H08C2,channel=LEA_US} {calibration,response,instrument,digitiser};
clone Channel $c {station=H08C1,channel=LEA_US} {station=H08C2,channel=LEV_US} {calibration,response,instrument,digitiser,sensor};

# Find the ID of a Sensor
find Sensor $s {,,,"EKB1","SHZ",EkaDig2};
print $s;

#Add a set of stage responses
read Responses $r0 {“SAC”, "polezero.sac" };

delete Response {,,TT,TSB09,BHZ_01,Main};
add Responses $r {network=TT, station=TSB09, channel=BHZ_01, source=Main, responseId=$r0};
list Response {,,TT,TSB09,BHZ_01,Main};
# Types
The bdsMetadata program operates through the BDS API on the BDS API data types. The fields of these are documented in the bdsApi manual at:
https://portal.beam.ltd.uk/support/blacknest/files/bds/doc/bdsApi/html/index.html
There are some special field names that are used with some data types:
Response: The field name “responseId” is used to set the actual ResponseList, PoleZero, FAP or FIR table values. A BdsMetadata variable that has been set to one of these “ResponseList,PoleZero,FAP,FIR” data types is used to set this fields value.
# Responses
BdsMetadata can set channel responses either from values within a BdsMetadata command file or by importing responses from any file format that the BDS data converters support. Either a single stage response or multiple stages can be imported.
There are two stages to this. First the Response or Responses need to be either initialised or imported which yields a unique responseId in a variable and then the Response or Responses can be added.
To add a single stage Response from parameters in the bdsMetadata command file use the “add PoleZero/FIR/FAP” commands. To read a single or multi-stage set of responses from a file use the “read Responses” command. Both of these methods yield the new responseId in a variable.
The “add Response” or “add Responses” command can now add the responses to the system overriding Response parameters as needed. With some data file formats such as STATIONXML and SEED most of the Response parameters are obtained from the file, however older simpler response formats such as IMS, IDC require the user to supply more Response parameters. By default the stage number is set to 1 for single Response initialisations.
# Return Value
The program will return a status value of 0 if all was Ok. It will return a non zero value, the BDS error number, on error together with a message output on stderr.
# Further Information
For further information please look at the BDS system documentation at: https://portal.beam.ltd.uk/support/blacknest.